| Tool ID #: ______ | Equipment Name: ________________________________ |
| --- | --- |
| Inspection Date: ____ | Authorized Inspector’s Name: _______________ |
| Name(s) of Authorized Employee(s) Inspected: ______________________________ |

| Removal of Equipment from Service | Yes | No | N/A |
| --- | --- | --- | --- |
| Were all Affected Employees notified that the equipment was going to be Locked out/Tagged out? |  |  |  |
| Were the hazardous energy sources and the associated energy isolating devices correctly identified and located? |  |  |  |
| Was the equipment shutdown performed correctly? |  |  |  |
| Were the energy-isolating devices operated so that the equipment was isolated from the hazardous energy sources? |  |  |  |
| Were the lockout/tagout devices placed on the energy isolating devices? |  |  |  |
| Were the correct lockout/tagout devices used? |  |  |  |
| Were the potentially hazardous stored energies relieved, restrained or otherwise rendered safe? |  |  |  |
| Was the isolation of hazardous energy sources verified to be effective, by testing with appropriate instrumentation and/or by operating the normal equipment operating controls after ensuring that no personnel were exposed? |  |  |  |
| Were the equipment controls returned to the neutral or off position after verifying that the equipment would not start-up or cycle? |  |  |  |
| Were additional procedures dealing with: shift or personnel change; group lockout/tagout; and testing/positioning of equipment followed? |  |  |  |
| Were unique lockout/tagout requirements for this equipment written in the procedure and followed? |  |  |  |

| Release from Lockout/Tagout | Yes | No | N/A |
| --- | --- | --- | --- |
| Was the work area checked to ensure that: all tools were removed; all shields were properly reinstalled; all interlocks were restored; and that the area was clear of hazards and personnel, before the equipment was re-energized? |  |  |  |
| Were all Affected Employees notified that the equipment was going to be returned to service? |  |  |  |
| Were the lockout/tagout devices removed by the same Authorized Employee(s) who attached them? |  |  |  |
| Were the energy-isolating devices operated to restore energy to the equipment? |  |  |  |

| General Requirements | Yes | No | N/A |
| --- | --- | --- | --- |
| Does the lockout/tagout procedure provide adequate employee protection? |  |  |  |
| Did the Authorized Employees correctly explain their responsibilities under the lockout/tagout procedure being inspected? |  |  |  |
| Did the Affected Employees (where tagout is used) correctly explain their responsibilities under the lockout/tagout procedure being inspected? |  |  |  |

Notes:

- All "no" responses require corrective action with dates for completion.  Use the space below to specify.

- All employees authorized to implement the procedure but not present for this inspection must review the results. This can be accomplished for example by a meeting or electronic note.

- Department manager must retain the completed inspection forms for audit purposes.

__________________________________________________________________

__________________________________________________________________

__________________________________________________________________

I certify completion of the inspection.  All of my employees who are authorized to perform the procedure have reviewed the inspection results and are familiar with their responsibilities.

Manager's or Supervisor’s Name and Signature:

_____________________________        x________________________________

Date:       __________               Department:       ____________________